**Mo foil**

16-05-2020 – Dmitry/..

PETRA III Extension Beamline P65

XAS CONTINUOUS MODE

Chart, line chart

Description automatically generated

E0 = **20000** eV, Edge step = **1.5**, Pre-edge = -150 to -30 eV, Normalization = 50 to 900 eV

Chart

Description automatically generated kw = 2

Chart, line chart

Description automatically generated k range = 2.2 – 14.0 Å-1